ABSciex_core: Routines for processing wiff data
By Scott Ficarro
Last revision: 2012-01-27

Foreword about ABSciex MS DataConverter Locus
“Locus:1.1.1.5979.25”
When interacting with C# COM Object,
Both Scan and Experiment need to be decremented by one!

Annotate multiplierz sheet with retention times
retrieve_retention_times(filename, sheetname)

Given ABSciex MSData Converter format of “Locus:1.1.1.5979.25” in the spectrum description of a multiplierz sheet, retrieves the retention time of each scan using the C# COM Object mzWiff

ob = comtypes.client.CreateObject("{2C4ECDA2-E794-406F-B171-E284A9B75AF8}")
rt = ob.getRTfromScan(scan)

Intact Protein Work
derive_intact_recal(calfile)

Make an xls file with sheetname calibration. Have columns Observed and Theoretical.

Does least squares fit.

return slope, intercept

apply_intact_recal(file, slope, intercept)

file = name of text file with mz, int, rel int (from analyst data list)
slope, intercept = values from derive_intact_recal.

Recalibrating .wiff Data

Step 1: Search data with open tolerances. Download multiplierz excel sheet. Make sure it has the header worksheet.

Warning – not compatible with N-term modifications!! If you search with variable acetylation, create a new sheet “No Ac” without these modifications

Step 2: Generate the CAL.txt file. This is a simple text file containing the slope in the first line, and the intercept as the second line.

This can be all done in PythonWin
C:\Python26\Lib\site-packages\pythonwin

Import ABSciex_core

file = r'\\glu\MS_Data_02\Feng\1D\1119_mou_1.mgf.xls'

write_MS_calibration(filename, sheetname="Data", calname=False, MS2=False, MS2_tol=0.25, mzcutoff = 1000, export = False)

ABSciex_core.write_MS_calibration(file, 'No Ac', True, True)
Example for using m/z cutoff for MS2 data:
ABSciex_core.write_MS_calibration(file, 'No Ac', True, True, 0.25, 1000)

Set calname to true to base calname on the filename. Set MS2 to True if recalibrating MS2 spectra with separate slope-intercept. MS2_tol is the tolerance used to identify fragment ions (theoretical-experimental), mzcutoff is the maximum mass used in the recalibration. Export, if true, will export a table of theoretical vs. experimental for every point used in the fit.

This will generate a sub mgf first. The sub-mgf is a subset of the original mgf, containing only ID's with score > 60.

Step 3: From the original mgf, generate a recalibrated mgf. Use slope, intercept from CAL.txt

ABSciex_core.recalibrate_mgf_from_file(mgf_file, cal_file, ms2=True)

This replaces the earlier function to read cal file directly. Old version:

ABSciex_core.recalibrate_mgf(file_name, ms_slope, ms_intercept, ms2=false, ms2slope, ms2intercept)

Warning... large files can cause a memory error, when this happens, use the recalibrate large mgf function, which writes to the mgf in append mode every 100,000 scans.

ABSciex_core.recalibrate_large_mgf(file_name, ms_slope, ms_intercept, ms2=False, ms2slope=0, ms2intercept=0)

An example using ms2 calibration according to a separate slope, intercept:
ABSciex_core.recalibrate_large_mgf(file[:-4], -0.000329212448039, 0.0544334328015, True, -0.000306209106103, 0.0470940591415)

Helper Functions
locus_dict = create_locus_dict(mgf_data)
Query lookup did not appear to work correctly. Workaround: use locus lookup:
mgf_data = mascot.parse_mgf(filename[:-4])
locus_dict = create_locus_dict(mgf_data)
For reading sheet:
desc = row['Spectrum Description'].split(':')[1].strip()
scan = locus_dict[desc]
        title = scan['TITLE']

get_peak_intensity(peak_list, mz_look_for, tolerance = 0.5)
Peak list should be list of (mz, inten)
returns max (mz,inten)

Individual calibration functions
For PolyMS2:
slope, intercept, r2, [z, error, 0]=derive_MS_calibration(filename, sheetname, MS2recal=False, plot=False, sub = False, MS1=True)

Old routine:
slope, intercept, r2, [ms2slope, ms2intercept, ms2r2]=derive_MS_calibration(filename, sheetname, MS2recal=False, plot=False, sub = False, MS1=True)

Give it multiplierz sheet and sheetname and it will derive slope intercept for MS1 scans and if specifed, MS2 scans.

New function does quadratic fit on MS2 data. In addition, only proline cleavges > 100 counts are used for the MS2 calibration.

For MS1 only recalibration returns:
slope, intercept, r2

For MS2 recalibration returns:
slope, intercept, r2, z, error, 0 (0 to keep 6 returns for previous script compatibility).
Z = array of a, b, c for ax2 + bx + c.
error is the poly1D function, evaluate error(mz) to return the error associated with the mz value; calibrated mz = mz + error

Saves pylab plots of errors vs. mz and histograms of errors to same directory.

Centroiding data
centroid(spectrum, eliminate_noise = True, step_length = 0.025, peak_min=3)

Takes profile data and returns a centroided spectrum
Eliminate noise removes peaks at the level of the noise.
The noise = min value of intensity in spectrum array
Step_length = maximum delta for grouping peaks
Peak_min=minimum number of points in group to drop a centroid

SQL
centroid_wiff_file_to_sql(wiffname, recal_slope=0, recal_intercept=0, sample = 0)

Takes every wiff MS scan, centroids, and dumps into SQL database. Makes index on scan.

SILAC Data
derive_SILAC_ratios(filename, sheetname = "Data", database_name = '')

Step 1: use centroid_wiff_file_to_sql to make database of recalibrated, centroided wiff data
Step 2: derive_SILAC_ratios

Tolerances hard coded at 0.05 Da. Uses first fetched value from database (but being centroided, this should not be an issue.)

iTRAQ Data
extract_iTRAQ_intensities(filename, sheetname = "Data", wiffname = '', cal_file = '', sample = 0, plex='iTRAQ4plex', correct_reps = True)

Populates xls file with reporter ion intensities. Requires ABSciex MSData converter format. Requires C# COM Object. Currently 'iTRAQ4plex' and 'iTRAQ8plex' are supported.

Derive and apply correction factor functions are in mz_core
reps, cf = derive_CF(filename, sheetname, labels='i4', type='summed', all_non_zero=True)

Currently supports i4 and i8 for iTRAQ 4 plex or 8 plex, respectively. Should have xls sheet after running combine peptides (makes Summed 114, etc and Max 114, etc.). This is specified as type, i.e. summed looks for Summed 114. Returns raw summed reporters and calculated correction factors.

apply_CF(filename, sheetname, cf, type='summed')

Currently supports i4 and i8 for iTRAQ 4 plex or 8 plex, respectively. Should have xls sheet after running combine peptides (makes Summed 114, etc and Max 114, etc.). This is specified as type, i.e. summed looks for Summed 114. cf should be a list containing all correction factors to be applied.

correction_matrix = build_correction_matrix(plex='iTRAQ4plex')

v_list = correct(reps, correction_matrix)

calibrate_poly_mz

calibrate_poly_spectrum

read_cal_file

recalibrate_mgf_from_file